## SAVR- Daftar Aset
ENGR-750-44-QR-01
Daftar Aset SAVR
Kawasan : KLANG
Bil | FL Pencawang (hariz) | Nama Pencawang / Nama Feeder Pillar |  | Nama Feeder / Nama Jalan |  | Tarikh Mulatugas (cadang dikeluarkan) | Seksyen |  | Kelegaan Talian Ke Tanah | Bil Saiz Tiang |  |  | Bil Jenis Tiang |  |  |  | Jenis Pepasangan Tiang (Terus,Sudut,Pembahagian,Tamatan,Umbang Terbang,Tiang Penyokong) | ABC (Span) |  |  |  | PVC (Span) |  |  | BARE (Span) |  |  | Jumlah Span | Talian Utama (M) / Serbis (S) | Bil Umbang | Bil Black Box | Bil LVPT Cap Bank | Jenis Kotak Fius (Switch Fuse 160A, Switch Fuse 400A, Green Box, Fuse Tiang, Mini F/pillar) | Bilangan Serbis Melibatkan 1 pengguna sahaja | Catatan
|  |  | Structure (cnth: TX1P1F1) TX1 - Transformer 1 P1 - Feeder Pillar/LVDB 1 F1 - LV Feeder No 1 |  | FP Size |  | Dari (No Tiang / Nama Feeder) | Ke (No Tiang/ Nama Feeder/ No Rumah/ No Kedai) |  | 7.5 | 9 | 10 | Spun | Konkrit | Besi | Kayu |  | 3 X 185 | 3 X 95 | 3 X 16 | 1 X 16 | 19/064 | 7/083 | 7/044 | 7/173 | 7/122 | 3/132
1 | BKLG/PCE/J00152
2 | BKLG/PCE/J00153
3 | BKLG/PCE/J00154
4 | BKLG/PCE/J00155
5 | BKLG/PCE/J00156 | [7 empty] | 7.0m | [7 empty] | Pembahagian
6 | BKLG/PCE/J00157 | [7 empty] | 7.0m | [7 empty] | Terus
7 | BKLG/PCE/J00158 | [7 empty] | 7.0m | [7 empty] | Terus
8 | BKLG/PCE/J00159 | [7 empty] | 7.0m | [7 empty] | Terus
9 | BKLG/PCE/J00160 | [7 empty] | 7.0m | [7 empty] | Terus
10 | BKLG/PCE/J00161 | [7 empty] | 7.0m | [7 empty] | Terus
11 | BKLG/PCE/J00162 | [7 empty] | 7.0m | [7 empty] | Terus
12 | BKLG/PCE/J00163 | [7 empty] | 7.0m | [7 empty] | Terus
13 | BKLG/PCE/J00164 | [7 empty] | 7.0m | [7 empty] | Terus
14 | BKLG/PCE/J00165 | [7 empty] | 7.0m | [7 empty] | Terus
15 | BKLG/PCE/J00166 | [7 empty] | 7.0m | [7 empty] | Terus
16 | BKLG/PCE/J00167 | [7 empty] | 7.0m | [7 empty] | Terus
17 | BKLG/PCE/J00168 | [7 empty] | 7.0m | [7 empty] | Terus
18 | BKLG/PCE/J00169 | [7 empty] | 7.0m | [7 empty] | Terus
19 | BKLG/PCE/J00170 | [7 empty] | 7.0m | [7 empty] | Terus
20 | BKLG/PCE/J00171 | [7 empty] | 7.0m | [7 empty] | Tamatan
21 | BKLG/PCE/J00172 | [7 empty] | 7.0m | [7 empty] | Terus
22 | BKLG/PCE/J00173 | [7 empty] | 7.0m | [7 empty] | Pembahagian
23 | BKLG/PCE/J00174 | [7 empty] | 7.0m | [7 empty] | Pembahagian
24 | BKLG/PCE/J00175 | [7 empty] | 7.0m | [7 empty] | Terus
25 | BKLG/PCE/J00176 | [7 empty] | 7.0m | [7 empty] | Terus
26 | BKLG/PCE/J00177 | [7 empty] | 7.0m | [7 empty] | Terus
27 | BKLG/PCE/J00178 | [7 empty] | 7.0m | [7 empty] | Pembahagian
28 | BKLG/PCE/J00179 | [7 empty] | 7.0m | [7 empty] | Terus
29 | BKLG/PCE/J00180 | [7 empty] | 7.0m | [7 empty] | Terus
30 | BKLG/PCE/J00181 | [7 empty] | 7.0m | [7 empty] | Tamatan
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64 |  | PETALING JAYA NO 14 |  | JALAN 14/1 |  |  | JLN 14/1/6 | JLN 14/1/6/1 |  | 0 | 1 | 0 | 1 | 0 | 0 | 0
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197 |  | FP 2 JLN 51A/223 |  | JALAN 51A |  |  | JLN 223/51A/A | N/A |  | 0 | 1 | 0 | 1 | 0 | 0 | 0
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
255
256
257
258
259
260
261 |  | YOON FOH HIN |  | JALAN 17/21F |  |  | JLN 17/21F/4 | JLN 17/21F/3 |  | 1 | 0 | 0 | 0 | 1 | 0 | 0 |  |  |  | 1
262
263
264
265
266
267
268
269
270
271
272
273
274
275
276
277
278
279
280
281
282
283
284
285
286
287
288
289
290
291
292
293
294
295
296
297
298
299
300
301
302
303
304
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365
366
367
368
369
370
371
372
373
374
375
376
377
378
379
380
381
382
383
384
385
386
387
388
389
390
391
392
393
394
395
396
397
398
399
400
401
402
403
404
405
406
407
408
409
410
411
412
413
414
415
416
417
418
419
420
421
422
423
424
425
426
427
428
429
430
431
432
433
434
435
436
437
438
439
440
441
442
443
444
445
446
447
448
449
450
451
452
453
454
455
456
457
458
459
460
461
462
463
464
465
466
467
468
469
470
471
472
473
474
475
476
477
478
479
480
481
482
483
484
485
486
487
488
489
490
491
492
493
494
495
496
497
498
499
500
501
502
503
504
505
506
507
508
509
510
511
512
513
514
515
516
517
518
519
520
521
522
523
524
525
526
527
528
529
530
531
532
533
534
535
536
537
538
539
540
541
542
543
544 |  | YOON FOH HIN |  | JALAN 17/21F |  |  | JLN 17/21E/3 | JLN 17/21F/9 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  | 1
545
546
547
548
549
550
551
552
553
554
555
556
557
558
559
560
561
562
563
564
565
566
567
568
569
570
571
572
573
574
575
576
577
578
579
580
581
582
583
584
585
586
587
588
589
590
591
592
593
594
595
596
597
598
599
600
601
602
603
604
605
606
607 |  | YOON FOH HIN |  | JALAN 17/21F |  |  | JLN 17/21F/6 | JLN 17/21F/5 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  | 1
608 |  | STESEN SUIS UTAMA RESIDENSI SEVENTEEN |  | JALAN 17/44 |  |  | JLN 17/44/8 | JLN 17/44/9 |  | 1 | 0 | 0 | 0 | 1 | 0 | 0
609
610
611
612
613
614
615
616
617
618
619
620
621
622
623
624
625
626
627
628
629
630
631
632
633
634
635
636
637
638
639
640
641
642
643
644
645
646
647
648
649
650
651
652
653
654
655
656
657
658
659
660
661
662
663
664
665
666
667
668
669
670
671
672
673
674
675
676
677
678
679
680
681
682
683
684
685
686
687
688
689
690
691
692
693
694
695
696
697
698
699
700
701
702
703
704
705
706
707
708
709
710
711
712
713
714
715
716
717
718
719
720
721
722
723
724
725
726
727
728
729
730
731
732
733
734
735
736
737
738
739
740
741
742
743
744
745
746
747
748
749
750
751
752
753
754
755
756
757
758
759
760
761
762
763
764
765
766
767
768
769
770
771
772
773
774
775
776
777
778
779
780
781
782
783
784
785
786
787
788
789
790
791
792
793
794
795
796 |  | PE PJ 12 |  | Jalan 12/7 |  |  | Jalan 12/7 | Jalan 12/7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 2
797
798
799
800
801
802
803
804
805
806
807
808
809
810
811
812
813
814
815
816
817
818
819
820
821
822
823
824
825
826
827
828
829
830
831 |  | P/E PETALING JAYA NO 11 |  | Jalan 11/9 |  |  | Jalan 11/9 | Jalan 11/9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1 |  |  | 1
832 |  | PE PJ 12 |  | Jalan 12/6 |  |  | Jalan 12/6 | Jalan 12/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3
833
834
835
836
837
838
839
840
841
842
843
844
845
846
847 |  | SPRINT HIGHWAY |  | Jalan 17/33 |  |  | Jalan 17/33 | Jalan 17/33 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1
848
849 |  | PE A |  | JLN PJS 10/15 a |  |  | PE A | JLN PJS 10/15 a |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 2
850 |  | SHOPPING COMPLEX |  | JALAN 14/14 |  |  | JLN 14/14/1 | JLN 14/14/2 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  | 2 |  | 2
851
852
853 |  | PAKAR UNIVERSITI MALAYA |  | LORONG UNIVERSITI |  |  | LORONG UNIVERSITI | LORONG UNIVERSITI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
854
855
856 |  | Jalan kemajuan |  | Jalan kemajuan |  |  | Jalan kemajuan | Jalan kemajuan |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 1
857 |  | Jalan kemajuan |  | JLN 12/18 |  |  | Jalan kemajuan | JLN 12/18 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 2
858 |  | SPRINT HIGHWAY |  | Jalan 17/62 |  |  | Jalan 17/33 | Jalan 17/62 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1
859 |  | P/E SEK MEN SULTAN ABD SAMAD |  | Jalan Kamajuan |  |  | P/E SEK MEN SULTAN ABD SAMAD | Jalan 12/16 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
860
861
862 |  | SPRINT HIGHWAY |  | Jalan 15/33 |  |  | Jalan 15/33 | Jalan 15/33 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1
863 |  | Jalan kemajuan |  | Jalan kemajuan |  |  | Jalan kemajuan | Jalan kemajuan |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 3
864 |  | Jalan kemajuan |  | Jalan kemajuan |  |  | Jalan kemajuan | Jalan kemajuan |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 1 |  | 1
865 |  | Jalan kemajuan |  | Jalan kemajuan |  |  | Jalan kemajuan | Jalan kemajuan |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 1 |  | 1
866
867 |  | Jalan kemajuan |  | Jalan kemajuan |  |  | Jalan kemajuan | Jalan kemajuan |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 2
868 |  | SPRINT HIGHWAY |  | Jalan 17/33 |  |  | Jalan 17/33 | Jalan 17/33 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1
869 |  | Jalan kemajuan |  | Jalan kemajuan |  |  | Jalan kemajuan | Jalan kemajuan |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 1 |  | 1
870 |  | SPRINT HIGHWAY |  | Jalan 15/33 |  |  | Jalan 15/33 | Jalan 15/33 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 2
871 |  | SPRINT HIGHWAY |  | Jalan 17/33 |  |  | Jalan 17/52 | Jalan 17/33 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 2
872 |  | SPRINT HIGHWAY |  | Jalan 17/52 |  |  | Jalan 17/52 | Jalan 17/52 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 2
873 |  | Jalan kemajuan |  | Jalan kemajuan |  |  | Jalan kemajuan | Jalan kemajuan |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 1
874 |  | SPRINT HIGHWAY |  | Jalan 17/52 |  |  | Jalan 17/52 | Jalan 17/52 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1
875
876 |  | SPRINT HIGHWAY |  | Jalan 17/52 |  |  | SPRINT HIGHWAY | Jalan 17/52 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1
877 |  | Jalan kemajuan |  | Jalan 13/4 |  |  | Jalan kemajuan | Jalan 13/4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 1
878 |  | SRI SUBANG NO.1 SG.WAY |  | JALAN PJS 10/15 |  |  | JALAN PJS 10/15 | JALAN PJS 10/15 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1
879 |  | Jalan kemajuan |  | Jalan kemajuan |  |  | Jalan kemajuan | Jalan kemajuan |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 1 | 1
880 |  | P/E MERAIS |  | Jalan 19/2 |  |  | P/E MERAIS | Jalan 19/5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 1
881 |  | SRI SUBANG NO.1 SG.WAY |  | LORONG 10/15A |  |  | SRI SUBANG NO.1 SG.WAY | JLN PJS 10/15 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  |  |  | 1
882 |  | PE A |  | PJs 10/15 |  |  | PJs 10/26 | PJs 10/15 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  | 1 |  | 1
883 |  | PAKAR UNIVERSITI MALAYA |  | LORONG UNIVERSITI |  |  | LORONG UNIVERSITI | LORONG UNIVERSITI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
884 |  | PAKAR UNIVERSITI MALAYA |  | LORONG UNIVERSITI |  |  | LORONG UNIVERSITI | LORONG UNIVERSITI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
885 |  | YOON FOH HIN |  | JALAN 17/21E |  |  | JLN 17/21E/4 | JLN 17/21E/5 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 | [5 empty] | 2
886 |  | YOON FOH HIN |  | JALAN 17/21F |  |  | JLN 17/21F/9 | JLN 17/21F/8 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  | 1 |  | 1
887 |  | YOON FOH HIN |  | JALAN 17/21F |  |  | JLN 17/21F/8 | JLN 17/21F/7 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  | 1 |  |  | 2
888
889 |  | ATLANTIC LIBERTY NO 2 |  | JALAN 17/58 |  |  | ATLANTIC LIBERTY NO 2 | N/A |  | 0 | 1 | 0 | 0 | 1 | 0 | 0
890 |  | P/E MERAIS |  | Jalan 19/2 |  |  | P/E MERAIS | Jalan 19/5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 2
891 |  | P/E MERAIS |  | Jalan 19\2 |  |  | P/E MERAIS | Jalan 19/5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 2
892 |  | P/E MERAIS |  | Jalan 19\2 |  |  | P/E MERAIS | Jalan 19/5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 2 |  |  | 2
893 |  | P/E MERAIS |  | Jalan 19/4 |  |  | P/E MERAIS | Jalan 19/5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1
894 |  | P/E MERAIS |  | Jalan 19/5 |  |  | P/E MERAIS | Jalan 19/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 2 |  |  | 1 |  |  |  | 1
895 |  | P/E PETALING JAYA NO :11 |  | Jalan 11/9 |  |  | Jalan 11/9 | Jalan 11/9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1 |  |  | 4
896 |  | PAKAR UNIVERSITI MALAYA |  | LORONG UNIVERSITI |  |  | LORONG UNIVERSITI | LORONG UNIVERSITI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  |  | 1
897 |  | P/E MERAIS |  | Jalan 19/4 |  |  | P/E MERAIS | Jalan 19/5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 2
898 |  | P/E MERAIS |  | Jalan 19/4 |  |  | P/E MERAIS | Jalan 14/5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 2 |  |  |  |  | 2
899 |  | PAKAR UNIVERSITI MALAYA |  | LORONG UNIVERSITI |  |  | LORONG UNIVERSITI | LORONG UNIVERSITI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
900 |  | P/E MERAIS |  | Jalan 19/5 |  |  | P/E MERAIS | Jalan 19/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 2
901 |  | P/E MERAIS |  | Jalan 19/5 |  |  | P/E MERAIS | Jalan 19\6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 3
902 |  | PAKAR UNIVERSITI MALAYA |  | LORONG UNIVERSITI |  |  | LORONG UNIVERSITI | LORONG UNIVERSITI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
903 |  | P/E MERAIS |  | Jalan 19/4 |  |  | P/E MERAIS | Jalan 19/5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 1
904 |  | P/E MERAIS |  | Jalan 19/4 |  |  | P/E MERAIS | Jalan 19/5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 2 |  |  |  |  | 2
905 |  | P/E MERAIS |  | Jalan 19/2 |  |  | P/E MERAIS | Jalan 19/5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 2
906 |  | ASRAMA LRG ILMU NO 2 |  | LORONG UNIVERSITI |  |  | LORONG UNIVERSITI | LORONG UNIVERSITI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
907 |  | ASRAMA LRG ILMU NO 2 |  | LORONG UNIVERSITI |  |  | LORONG UNIVERSITI | LORONG UNIVERSITI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  |  |  | 1
908 |  | ASRAMA LRG ILMU NO 2 |  | JALAN UNIVERSITI |  |  | JALAN ILMU | JALAN UNIVERSITI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3 |  |  |  | 1
909 |  | ASRAMA LRG ILMU NO 1 |  | JALAN UNIVERSITY |  |  | JALAN ILMU | JALAN UNIVERSITI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 1
910
911
912
913
914
915 |  | PETALING GARDEN PH IV NO 1 |  | JALAN 17/3 |  |  | PETALING GARDEN PH IV NO 1 | N/A |  | 0 | 1 | 0 | 0 | 1 | 0 | 0 |  |  | 2
916 |  | PETALING JAYA NO 14 |  | JALAN 14/5 |  |  | JLN 14/5/6 | JLN 14/5/7 |  | 0 | 1 | 0 | 1 | 0 | 0 | 0 |  |  | 2
917
918
919
920
921 |  | P/E PETALING JAYA NO 11 |  | Jalan 11/12 |  |  | Jalan 11/12 | Jalan 11/12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
922 |  | YOON FOH HIN |  | JALAN 17/21E |  |  | YOON FOH HIN | JLN 17/21E/3 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  | 1 | 1 | 1
923 |  | P/E SEK MEN SULTAN ABDUL SAMAD |  | JLN 12/13 |  |  | P/E SEK MEN SULTAN ABDUL SAMAD | JLN 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 6
924 |  | P/E SEK MEN SULTAN ABDUL SAMAD |  | JLN 12/13 |  |  | P/E SEK MEN SULTAN ABDUL SAMAD | JLN 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
925 |  | P/E SEK MEN SULTAN ABDUL SAMAD |  | JLN 12/13 |  |  | P/E SEK MEN SULTAN ABDUL SAMAD | JLN PROFESOR DIRAJA UNGKU AZIZ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  |  |  | 2
926 |  | P/E SEK MEN SULTAN ABDUL SAMAD |  | JLN 12/13 |  |  | P/E SEK MEN SULTAN ABDUL SAMAD | JLN PROFESOR UNGKU AZIZ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
927 |  | YOON FOH HIN |  | JALAN 17/21E |  |  | JLN 17/21E/3 | JLN 17/21E/4 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  |  |  | 1 | 2
928 |  | YOON FOH HIN |  | JALAN 17/21E |  |  | JLN 17/21E/4 | JLN 17/21E/4/1 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  |  | 1
929 |  | YOON FOH HIN |  | JALAN 17/21F |  |  | JLN 17/21F/3/1 | JLN 17/21F/3/2 |  | 1 | 0 | 0 | 0 | 1 | 0 | 0 |  |  |  | 1
930 |  | PETALING JAYA NO 14 |  | JALAN UTARA |  |  | JLN 14/1/8/1 | N/A |  | 0 | 1 | 0 | 1 | 0 | 0 | 0
931 |  | ATLANTIC LIBERTY NO 2 |  | JALAN 17/58 |  |  | ATLANTIC LIBERTY NO 2 | JLN 17/58/5 |  | 0 | 1 | 0 | 0 | 1 | 0 | 0
932 |  | P/E SEK MEN SULTAN ABDUL SAMAD |  | JLN 12/13 |  |  | P/E SEK MEN SULTAN ABDUL SAMAD | JLN PROFESOR DIRAJA UNGKU AZIZ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  |  |  | 2
933 |  | P/E SEK MEN SULTAN ABDUL SAMAD |  | JLN 12/13 |  |  | P/E SEK MEN SULTAN ABDUL SAMAD | JLN PROFESOR DIRAJA UNGKU AZIZ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 4
934 |  | P/E PETALING JAYA NO 11 |  | Jalan 11/12 |  |  | P/E PETALING JAYA NO 11 | Jalan 11/12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
935 |  | P/E SEK MEN SULTAN ABDUL SAMAD |  | JLN 12/13 |  |  | P/E SEK MEN SULTAN ABDUL SAMAD | JLN PROFESOR DIRAJA UNGKU AZIZ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
936 |  | P/E PETALING JAYA NO 11 |  | Jalan 11/12 |  |  | Jalan 11/12 | Jalan 11/12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 2
937 |  | YOON FOH HIN |  | JALAN 17/21F |  |  | JLN 17/21F/3/2 | JLN 17/21F/3/3 |  | 1 | 0 | 0 | 0 | 1 | 0 | 0 |  |  |  |  | 1
938 |  | P/E PETALING JAYA NO 11 |  | LRG 11/6 A |  |  | Jalan 11/6 | LRG 11/6 A |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 1 |  | 2
939 |  | PEARL & DEAN OUTDOOR |  | LEBUHRAYA PERSEKUTUAN |  |  | PEARL & DEAN OUTDOOR | N/A |  | 0 | 1 | 0 | 1 | 0 | 0 | 0
940 |  | P/E SEK MEN SULTAN ABDUL SAMAD |  | JLN 12/13 |  |  | P/E SEK MEN SULTAN ABDUL SAMAD | JLN PROFESOR DIRAJA UNGKU ABDUL AZIZ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 | 1
941 |  | P/E PETALING JAYA 11 |  | Jalan 11/12 |  |  | Jalan 11/12 | Jalan 11/12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
942 |  | P/E PETALING JAYA 11 |  | Jalan 11/12 |  |  | Jalan 11/12 | Jalan 11/12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 4
943 |  | P/E PETALING JAYA 11 |  | Jalan 11/12 |  |  | Jalan 11/12 | Jalan 11/12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  |  |  | 2
944 |  | P/E PETALING JAYA 11 |  | Jalan 11/12 |  |  | Jalan 11/12 | Jalan 11/12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 4
945 |  | P/E PETALING JAYA NO 11 |  | Jalan 11/12 |  |  | Jalan 11/12 | Jalan 11/12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 2
946 |  | P/E PETALING JAYA 11 |  | Jalan 11/12 |  |  | Jalan 11/12 | Jalan 11/12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  |  |  | 2
947
948 |  | P/E PETALING JAYA 11 |  | Jalan 11/12 |  |  | Jalan 11/12 | Jalan 11/12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
949
950
951
952
953
954
955
956
957
958
959
960 |  | PE PETALING JAYA NO 11 |  | Jalan 11/2 |  |  | Jalan 11/2 | Jalan 11/2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  |  |  | 2
961
962 |  | P/E UNIVERSITY TOWER |  | Jalan Bukit 11/2 |  |  | P/E UNIVERSITY TOWER | Jalan Bukit 11/2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 3 |  | 2
963 |  | P/E UNIVERSITY TOWER |  | Jalan Bukit 11/2 |  |  | P/E UNIVERSITY TOWER | Jalan Bukit 11/2/ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1
964 |  | P/E PETALING JAYA NO 11 |  | JLN 11/6 |  |  | JALAN 11/6 | JALAN 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  |  |  | 2
965 |  | PE PETALING JAYA NO11 |  | Jalan 11/2 |  |  | Jalan 11/2 | Jalan 11/2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
966 |  | PE PETALING JAYA NO 11 |  | Jalan 11/9 |  |  | Jalan 11/9 | Jalan 11/9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  |  | 1 | 3
967 |  | P/E PETALING JAYA NO 11 |  | Jalan 11/9 |  |  | Jalan 11/9 | Jalan 11/9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
968 |  | SPRINT HIGHWAY |  | Jalan 17/33 |  |  | Jalan 17/33 | Jalan 17/33 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1 | 1
969
970
971
972
973 |  | YOON FOH HIN |  | JALAN 17/21E |  |  | JLN 17/21E/2 | JLN 17/21E/1 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  |  |  | 1
974
975
976
977 |  | YOON FOH HIN |  | JALAN 17/21E |  |  | JLN 17/21E/1 | JLN 17/21E/1/1 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  |  |  | 1
978 |  | YOON FOH HIN |  | JALAN 17/21E |  |  | JLN 17/21E/3 | JLN 17/21E/2 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  |  | 1 | 1
979 |  | P/E PETALING JAYA NO 11 |  | LRG 11/6 A |  |  | Jalan 11/6 | LRG 11/6 A |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 1 |  | 4
980 |  | P/E PETALING JAYA NO 11 |  | LRG 11/6 A |  |  | Jalan 11/6 | LRG 11/6 A |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 1
981 |  | P/E PETALING JAYA NO 11 |  | LRG 11/6 A |  |  | Jalan 11/6 | LRG 11/6 A |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 1
982 |  | P/E PETALING JAYA NO 11 |  | LRG 11/6 A |  |  | Jalan 11/6 | LRG 11/6 A |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 1
983 |  | P/E PETALING JAYA NO 11 |  | LRG 11/6 A |  |  | Jalan 11/6 | LRG 11/6 A |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
984 |  | P/E PETALING JAYA NO 11 |  | Jalan 11/6 |  |  | Jalan 11/6 | Jalan 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  |  |  | 2
985 |  | P/E PETALING JAYA NO 11 |  | Jalan 11/6 |  |  | Jalan 11/6 | Jalan 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 4
986 |  | P/E PETALING JAYA NO 11 |  | Jalan 11/6 |  |  | Jalan 11/6 | Jalan 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
987 |  | P/E PETALING JAYA NO 11 |  | Jalan 11/6 |  |  | Jalan 11/6 | Jalan 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
988
989 |  | P/E PETALING JAYA NO 11 |  | Jalan 11/6 |  |  | Jalan 11/6 | Jalan 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 2
990 |  | P/E PETALING JAYA NO 11 |  | Jalan 11/6 |  |  | Jalan 11/6 | Jalan 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  |  |  | 2
991 |  | P/E PETALING JAYA 11 |  | Jalan 11/16 |  |  | Jalan 11/16 | Jalan 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 2
992 |  | YOON FOH HIN |  | JALAN 17/21F |  |  | JLN 17/21F/7 | JLN 17/21F/6 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  | 1 |  | 1
993 |  | YOON FOH HIN |  | JALAN 17/21F |  |  | JLN 17/21F/6 | JLN 17/21F/6/1 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  |  |  | 1
994 |  | YOON FOH HIN |  | JALAN 17/21F |  |  | JLN 17/21F/5 | JLN 17/21F/4 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  | 1
995 |  | YOON FOH HIN |  | JALAN 17/21F |  |  | JLN 17/21F/3 | JLN 17/21F/3/1 |  | 1 | 0 | 0 | 0 | 1 | 0 | 0 |  |  |  | 1
996 |  | P/E SEK MEN SULTAN ABD SAMAD |  | Jalan 12/16a |  |  | P/E SEK MEN SULTAN ABD SAMAD | Jalan 12/16b |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  | 2
997
998
999
1000
1001
1002
1003
1004 |  | P/E SEK MEN SULTAN ABD SAMAD |  | Jalan 12/16a |  |  | P/E SEK MEN SULTAN ABD SAMAD | Jalan 12/16b |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 2
1005 |  | P/E SEK MEN SULTAN ABD SAMAD |  | Jalan 12/16a |  |  | P/E SEK MEN SULTAN ABD SAMAD | Jalan 12/16b |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1 |  |  | 2
1006 |  | P/E SEK MEN SULTAN ABD SAMAD |  | Jalan 12/16a |  |  | P/E SEK MEN SULTAN ABD SAMAD | Jalan 12/16b |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1 |  |  | 4
1007 |  | P/E SEK MEN SULTAN ABD SAMAD |  | Jalan 12/16a |  |  | P/E SEK MEN SULTAN ABD SAMAD | Jalan 12/6b |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1 |  |  | 1
1008 |  | P/E SEK MEN SULTAN ABD SAMAD |  | Jalan 12/16 |  |  | P/E SEK MEN SULTAN ABD SAMAD | Jalan 12/16a |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 3 |  |  | 2
1009 |  | P/E SEK MEN SULTAN ABD SAMAD |  | Jalan 12/16 |  |  | P/E SEK MEN SULTAN ABD SAMAD | Jalan 12/16a |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
1010 |  | P/E SEK MEN SULTAN ABD SAMAD |  | Jalan 12/16 |  |  | P/E SEK MEN SULTAN ABD SAMAD | Jalan 12/16a |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
1011
1012
1013 |  | PETALING JAYA NO 14 |  | JALAN UTARA |  |  | JLN 14/1/8 | N/A |  | 0 | 1 | 0 | 1 | 0 | 0 | 0
1014 |  | PETALING JAYA NO 14 |  | JALAN 14/1 |  |  | JLN 14/1/7 | JLN 14/1/8 |  | 0 | 1 | 0 | 1 | 0 | 0 | 0
1015 |  | PE PJ 12 |  | Jalan 12/7 |  |  | Jalan 12/7 | Jalan 12/7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 3
1016 |  | PE PJ 12 |  | Jalan 12/7 |  |  | Jalan 12/7 | Jalan 12/7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
1017 |  | PE PJ 12 |  | Jalan 12/7 |  |  | Jalan 12/7 | Jalan 12/7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 2
1018 |  | PE PJ 12 |  | Jalan 12/7 |  |  | Jalan 12/6 | Jalan 12/7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
1019 |  | PE PJ 12 |  | Jalan 12/6 |  |  | Jalan 12/6 | Jalan 12/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
1020 |  | PE PJ 12 |  | Jalan 12/6 |  |  | Jalan 12/6 | Jalan 12/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
1021 |  | PE PJ 12 |  | Jalan 12/6 |  |  | Jalan 12/6 | Jalan 12/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  | 1 | 4
1022 |  | PE PJ 12 |  | Jalan 12/6 |  |  | Jalan 12/6 | Jalan 12/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
1023 |  | PE PJ 12 |  | Jalan 12/6 |  |  | PE PJ 12 | Jalan 12/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  |  |  | 2
1024 |  | PE PETALING JAYA NO 11 |  | Jalan 11/2 |  |  | Jalan 11/2 | Jalan 11/2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
1025 |  | P/E UNIVERSITY TOWER |  | Jalan 12/13 |  |  | P/E UNIVERSITY TOWER | Jalan 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
1026 |  | PEARL & DEAN OUTDOOR |  | LEBUHRAYA PERSEKUTUAN |  |  | N/A | N/A |  | 1 | 0 | 0 | 1 | 0 | 0 | 0
1027 |  | P/E UNIVERSITY TOWER |  | Jalan 12/13 |  |  | P/E UNIVERSITY TOWER | Jalan 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 2 | 1
1028 |  | P/E UNIVERSITY TOWER |  | Jalan 12/13 |  |  | P/E UNIVERSITY TOWER | Jalan 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
1029 |  | P/E UNIVERSITY TOWER |  | Jalan 12/13 |  |  | P/E UNIVERSITY TOWER | Jalan 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3
1030 |  | P/E UNIVERSITY TOWER |  | Jalan 12/13 |  |  | P/E UNIVERSITY TOWER | Jalan 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
1031 |  | P/E UNIVERSITY TOWER |  | Jalan 12/13 |  |  | P/E UNIVERSITY TOWER | Jalan 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  |  |  | 4
1032 |  | P/E UNIVERSITY TOWER |  | Jalan 12/13 |  |  | P/E UNIVERSITY TOWER | Jalan 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
1033 |  | P/E UNIVERSITY TOWER |  | Jalan 12/13 |  |  | P/E UNIVERSITY TOWER | Jalan 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  |  |  | 4
1034 |  | APARTMENT FLAT SS 17 |  | JALAN 17/13 |  |  | APARTMENT FLAT SS 17 | JALAN 17/13/17 |  | 0 | 1 | 0 | 1 | 0 | 0 | 0
1035 |  | P/E UNIVERSITY TOWER |  | Jalan 12/13 |  |  | P/E UNIVERSITY TOWER | Jalan 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3 |  |  |  | 2
1036 |  | P/E UNIVERSITY TOWER |  | Jalan 12/13 |  |  | P/E UNIVERSITY TOWER | Jalan 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
1037 |  | P/E UNIVERSITY TOWER |  | Jalan 12/13 |  |  | P/E UNIVERSITY TOWER | Jalan 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
1038 |  | P/E UNIVERSITY TOWER |  | Jalan 12/13 |  |  | P/E UNIVERSITY TOWER | Jalan 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3 | 1 |  |  | 2
1039 |  | P/E UNIVERSITY TOWER |  | Jalan 12/13 |  |  | P/E UNIVERSITY TOWER | Jalan 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
1040 |  | P/E UNIVERSITY TOWER |  | Jalan 12/13 |  |  | P/E UNIVERSITY TOWER | Jalan 12/13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 1
1041
1042 |  | P/E UNIVERSITY TOWER |  | Jalan Bukit 11/2 |  |  | P/E UNIVERSITY TOWER | Jalan Bukit 11/2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 1
1043 |  | P/E UNIVERSITY TOWER |  | Jalan Bukit 11/2 |  |  | P/E UNIVERSITY TOWER | Jalan Bukit 11/2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 2
1044 |  | P/E UNIVERSITY TOWER |  | Jalan Bukit 11/2 |  |  | P/E UNIVERSITY TOWER | Jalan Bukit 11/2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 2
1045 |  | P/E UNIVERSITY TOWER |  | Jalan Bukit 11/2 |  |  | P/E UNIVERSITY TOWER | Jalan Bukit 11/2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1
1046 |  | P/E UNIVERSITY TOWER |  | Jalan Bukit 11/2 |  |  | P/E UNIVERSITY TOWER | Jalan Bukit 11/2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 1
1047
1048 |  | P/E UNIVERSITY TOWER |  | Jalan Bukit 11/2 |  |  | P/E UNIVERSITY TOWER | Jalan Bukit 11/2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 1
1049 |  | P/E UNIVERSITY TOWER |  | Jalan Bukit 11/2 |  |  | P/E UNIVERSITY TOWER | Jalan Bukit 11/2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 2
1050 |  | P/E UNIVERSITY TOWER |  | Jalan Bukit 11/2 |  |  | P/E UNIVERSITY TOWER | Jalan Bukit 11/2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  | 1
1051 |  | TMN LEE YAN LIAN |  | JLN 17/58 |  |  | N/A | JLN 17/58/2/1 |  | 0 | 1 | 0 | 1 | 0 | 0 | 0
1052 |  | TMN LEE YAN LIAN |  | JALAN 17/58 |  |  | TMN LEE YAN LIAN | JLN 17/58/3 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0
1053 |  | P/E PETALING JAYA NO 11 |  | JLN 11/6 |  |  | JALAN 11/6 | JALAN 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3 |  |  |  | 2
1054 |  | PETALING JAYA NO 14 |  | JALAN 14/1 |  |  | JLN 14/1/6 | JLN 14/1/7 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  | 1 | 2
1055
1056 |  | P/E PETALING JAYA NO 11 |  | JLN 11/6 |  |  | JALAN 11/6 | JALAN 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 6
1057 |  | P/E PETALING JAYA NO 11 |  | JLN 11/6 |  |  | JALAN 11/6 | JALAN 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 5
1058 |  | P/E PETALING JAYA NO 11 |  | JLN 11/6 |  |  | JALAN 11/6 | JALAN 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  | 1 | 2
1059 |  | P/E PETALING JAYA NO 11 |  | JLN 11/6 |  |  | JALAN 11/6 | JALAN 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
1060 |  | P/E PETALING JAYA NO 11 |  | JLN 11/6 |  |  | JALAN 11/6 | JALAN 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
1061 |  | P/E PETALING JAYA NO 11 |  | JLN 11/6 |  |  | JALAN 11/6 | JALAN 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
1062 |  | P/E PETALING JAYA NO 11 |  | JLN 11/6 |  |  | JALAN 11/6 | JALAN 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  |  |  | 2
1063 |  | P/E PETALING JAYA NO 11 |  | JLN 11/6 |  |  | JALAN 11/6 | JALAN 11/6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
1064
1065
1066
1067
1068
1069
1070
1071
1072
1073
1074
1075
1076
1077
1078
1079
1080
1081
1082
1083
1084 |  | FP 2 JLN 51A/223 |  | JALAN 51A |  |  | FP 2 JLN 51A/223 | JLN 223/1A/1 |  | 0 | 1 | 0 | 1 | 0 | 0 | 0
1085 |  | PE |  | Kampung Limau Manis | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
1086 |  | FP 2 JLN 51A/223 |  | JALAN 51A |  |  | N/A | JLN 223/51A/3 |  | 0 | 1 | 0 | 1 | 0 | 0 | 0
1087
1088 |  | test |  | Jalan Professor Khoo Kay Kim | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
1089 |  | PETALING JAYA NO 14 |  | JALAN 14/1 |  |  | JLN 14/1/5 | JLN 14/1/6 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  | 1 | 1 |  | 1
1090 |  | APARTMENT FLAT SS 17 |  | JALAN 17/20 |  |  | APARTMENT FLAT SS 17 | JLN 17/20/1 |  | 1 | 0 | 0 | 0 | 1 | 0 | 0
1091 |  | PETALING JAYA NO 14 |  | JALAN 14/1 |  |  | JLN 14/1/4 | JLN 14/1/5 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  | 1 |  |  | 1
1092 |  | PETALING JAYA NO 14 |  | JALAN 14/1 |  |  | JLN 14/4/12 | JLN 14/4/13 |  | 1 | 0 | 0 | 0 | 1 | 0 | 0 |  |  | 1
1093 |  | PETALING JAYA NO 14 |  | JLN 14/6 |  |  | JLN 14/6/2 | JLN 14/6/3 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 | [5 empty] | 1
1094 |  | PETALING JAYA NO 14 |  | JALAN 14/6 |  |  | JLN 14/6/3 | JLN 14/6/4 |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  | 1 |  |  | 2
1095 |  | PETALING GARDEN PH IV NO 3 |  | JALAN 17/44 |  |  | PETALING GARDEN PH IV NO 3 | JLN 17/44/6 |  | 1 | 0 | 0 | 0 | 1 | 0 | 0 |  |  | 1 | 1
1096 |  | STESEN SUIS UTAMA RESIDENSI SEVENTEEN |  | JALAN 17/44 |  |  | STESEN SUIS UTAMA RESIDENSI SEVENTEEN | JLN 17/44/6 |  | 1 | 0 | 0 | 0 | 1 | 0 | 0
1097 |  | STESEN SUIS UTAMA RESIDENSI SEVENTEEN |  | JALAN 17/44 |  |  | JLN 17/44/6 | JLN 17/44/7 |  | 1 | 0 | 0 | 0 | 1 | 0 | 0
1098 |  | STESEN SUIS UTAMA RESIDENSI SEVENTEEN |  | JALAN 17/44 |  |  | JLN 17/44/7 | JLN 17/44/8 |  | 1 | 0 | 0 | 0 | 1 | 0 | 0
1099 |  | home fp |  | Sahowari | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 2 | 3 | 4 | 1 | 2 | 3 |  | 1 | 2

## SAVR- Kejanggalaan
Kawasan : Klang
Tarikh Pemeriksaan : 15/10/2019
Bil | Nama Pencawang / Nama Feeder Pillar | Feeder Name / Nama Jalan | SEKSYEN |  | FL Pencawang | Nama Pencawang/Punca Bekalan | LVDB/FEEDER PILLAR |  |  | Tarikh Mulatugas | Lokasi Kejanggalan (No Tiang / Koordinat / No Premis) | Tiang |  |  | Talian (Utama / Servis) |  |  | Umbang |  |  |  | IPC | Black Box | Jumper |  | Penangkap Kilat | Servis |  | Pembumian | Papan Tanda - OFF Point / Bekalan Dua Hala | Sesalur Kaki Lima |  | Bil Janggal | Tarikh Pembaikan Dirancang | Tarikh Pembaikan Dilaksanakan | Catitan
|  |  | DARI | KE |  |  | Structure (cnth: TX1P1F1) TX1 - Transformer 1 P1 - Feeder Pillar/LVDB 1 F1 - LV Feeder No 1 | FP Name | FP Size |  |  | Reput/Retak | Condong | No. Tiang Pudar / Tiada | Penggunaan IPC/Maruku Joint Bagi sambungan tengah | Perlu Rentis | Tidak Patuh Ground Clearance | Kendur/Putus | Ulan (Creepers) | Tiada Stay Insulator/Rosak | Stay Plate / Pangkal Stay Terbongkah | Kesan Bakar | Kesan Bakar | Tiada UV Sleeve | Kesan Bakar | Rosak | Talian servis berada di atas bumbung | Won piece Tanggal | Tiada Sambungan ke Neutral | Papan Tanda Pudar / Rosak / Tiada | Wayar Tanggal | Junction Box Tanggal / Kesan Bakar
1 | home fp | Sahowari | [8 empty] | 5568 | [21 empty] | 0 | 2023-06-12 | 2023-06-12
2
3
4
5
6
7
8 |  |  |  |  | BKLG/PCE/J00159 | Bandar Puteri No.7 | TX1P1F1 | FP Jalan Sanggul 5 |  | 2011-10-01
9 |  |  |  |  | BKLG/PCE/J00160 | Bandar Puteri No.7 | TX1P1F1 | FP Jalan Sanggul 5 |  | 2011-10-01
10 |  |  |  |  | BKLG/PCE/J00161 | Bandar Puteri No.7 | TX1P1F1 | FP Jalan Sanggul 5 |  | 2011-10-01
11 |  |  |  |  | BKLG/PCE/J00162 | Bandar Puteri No.7 | TX1P1F1 | FP Jalan Sanggul 5 |  | 2011-10-01
12 |  |  |  |  | BKLG/PCE/J00163 | Bandar Puteri No.7 | TX1P1F1 | FP Jalan Sanggul 5 |  | 2011-10-01
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30

## SAVR- Height Clearance
ENGR-750-44-WI-01-02
Borang Senarai Semak Ground Clearance SAVR
| Nama : | Lim |  |  |  |  | Tarikh |  |  | 2018-03-01
| Staff ID/No IC : | 10012345 |  |  |  |  | Masa |  |  | 10:30
| Nama Syarikat : | TNB |  |  |  |  | Nama Pencawang |  |  | PE Bandar Puteri No 7
Bil | Tarikh Semakan dibuat | Span |  | Keadaan di Tapak |  |  | Kawasan |  |  |  | Jarak Kelegaan (meter) | Spesifikasi kelegaan talian |  | Catatan
|  | From (Nombor Tiang) | To (Nombor Tiang) | Melintasi Jalanraya | Bahu Jalan | Kawasan tidak dimasuki kenderaan | Bendang | Jalanraya | Hutan | Lain-lain (sila nyatakan) |  | Patuh | Tidak Patuh
1 | 1899-12-31
2 | 2
3 | 1900-01-02
4 | 1900-01-03
5 | 1900-01-04
6 | 6
7 | 7
8 | 8
9 | 9
10 | 10
11 | 11
12 | 12
13 | 13
14 | 14
15 | 15
16 | 16
17 | 17
18 | 18
19 | 19
20 | 20
21 | 21
22 | 22
23 | 23
24 | 24
25 | 25
26 | 26
27 | 27
28 | 28
29 | 29
30 | 30
31 | 31
32 | 32
33 | 33
34 | 34
35 | 35
36 | 36
37 | 37
38 | 38
39 | 39
40 | 40
41 | 41
42 | 42
43 | 43
44 | 44
45 | 45
46 | 46
47 | 47
48 | 48
49 | 49
50 | 50
JUMLAH | 51 | [10 empty] | 0 | 0
52
| 53 |  |  |  |  | DISEDIAKAN | [5 empty] | DIPERAKUKAN
54
55
| 56 |  |  |  |  | Nama: | [5 empty] | Nama:
| 57 |  |  |  |  | No Pekerja: | [5 empty] | No Pekerja:
| 58 |  |  |  |  | Tarikh: | [5 empty] | Tarikh:
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
255
256
257
258
259
260
261
262
263
264
265
266
267
268
269
270
271
272
273
274
275
276
277
278
279
280
281
282
283
284
285
286
287
288
289
290
291
292
293
294
295
296
297
298
299
300
301
302
303
304
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365
366
367
368
369
370
371
372
373
374
375
376
377
378
379
380
381
382
383
384
385
386
387
388
389
390
391
392
393
394
395
396
397
398
399
400
401
402
403
404
405
406
407
408
409
410
411
412
413
414
415
416
417
418
419
420
421
422
423
424
425
426
427
428
429
430
431
432
433
434
435
436
437
438
439
440
441
442
443
444
445
446
447
448
449
450
451
452
453
454
455
456
457
458
459
460
461
462
463
464
465
466
467
468
469
470
471
472
473
474
475
476
477
478
479
480
481
482
483
484
485
486
487
488
489
490
491
492
493
494
495
496
497
498
499
500
501
502
503
504
505
506
507
508
509
510
511
512
513
514
515
516
517
518
519
520
521
522
523
524
525
526
527
528
529
530
531
532
533
534
535
536
537
538
539
540
541
542
543
544
545
546
547
548
549
550
551
552
553
554
555
556
557
558
559
560
561
562
563
564
565
566
567
568
569
570
571
572
573
574
575
576
577
578
579
580
581
582
583
584
585
586
587
588
589
590
591
592
593
594
595
596
597
598
599
600
601
602
603
604
605
606
607
608
609
610
611
612
613
614
615
616
617
618
619
620
621
622
623
624
625
626
627
628
629
630
631
632
633
634
635
636
637
638
639
640
641
642
643
644
645
646
647
648
649
650
651
652
653
654
655
656
657
658
659
660
661
662
663
664
665
666
667
668
669
670
671
672
673
674
675
676
677
678
679
680
681
682
683
684
685
686
687
688
689
690
691
692
693
694
695
696
697
698
699
700
701
702
703
704
705
706
707
708
709
710
711
712
713
714
715
716
717
718
719
720
721
722
723
724
725
726
727
728
729
730
731
732
733
734
735
736
737
738
739
740
741
742
743
744
745
746
747
748
749
750
751
752
753
754
755
756
757
758
759
760
761
762
763
764
765
766
767
768
769
770
771
772
773
774
775
776
777
778
779
780
781
782
783
784
785
786
787
788
789
790
791
792
793
794
795
796
797
798
799
800
801
802
803
804
805
806
807
808
809
810
811
812
813
814
815
816
817
818
819
820
821
822
823
824
825
826
827
828
829
830
831
832
833
834
835
836
837
838
839
840
841
842
843
844
845
846
847
848
| 849 | [8 empty] | 5.5
850
851
852
| 853 | [8 empty] | 5.5
854
855
| 856 | [8 empty] | 5.5
| 857 | [8 empty] | 5.5
858
859
860
861
862
| 863 | [8 empty] | 5.5
| 864 | [8 empty] | 5.5
| 865 | [8 empty] | 5.5
866
| 867 | [8 empty] | 5.5
868
| 869 | [8 empty] | 6
870
871
872
| 873 | [8 empty] | 6.5
874
875
876
| 877 | [8 empty] | 1.7
878
| 879 | [8 empty] | 5.6
880
| 881 | [8 empty] | 5.5
| 882 | [8 empty] | 5.4
| 883 | [8 empty] | 5.5
| 884 | [8 empty] | 5.5
885
886
887
888
889
890
891
892
893
894
895
| 896 | [8 empty] | 5.5
897
898
| 899 | [8 empty] | 5.5
900
901
| 902 | [8 empty] | 5.5
903
904
905
| 906 | [8 empty] | 5.5
| 907 | [8 empty] | 5.5
| 908 | [8 empty] | 5.5
| 909 | [8 empty] | 5.5
910
911
912
913
914
915
916
917
918
919
920
921
922
923
924
925
926
927
928
929
930
931
932
933
934
935
936
937
938
939
940
941
942
943
944
945
946
947
948
949
950
951
952
953
954
955
956
957
958
959
960
961
| 962 | [8 empty] | 5.5
| 963 | [8 empty] | 5.5
964
965
966
967
968
969
970
971
972
973
974
975
976
977
978
979
980
981
982
983
984
985
986
987
988
989
990
991
992
993
994
995
996
997
998
999
1000
1001
1002
1003
1004
1005
1006
1007
1008
1009
1010
1011
1012
1013
1014
1015
1016
1017
1018
1019
1020
1021
1022
1023
1024
| 1025 | [8 empty] | 5.5
1026
| 1027 | [8 empty] | 5.5
| 1028 | [8 empty] | 5.5
| 1029 | [8 empty] | 5.5
| 1030 | [8 empty] | 5.5
| 1031 | [8 empty] | 5.5
| 1032 | [8 empty] | 5.5
| 1033 | [8 empty] | 5.5
1034
| 1035 | [8 empty] | 5.5
| 1036 | [8 empty] | 5.5
| 1037 | [8 empty] | 5.5
| 1038 | [8 empty] | 5.5
| 1039 | [8 empty] | 5.5
| 1040 | [8 empty] | 5.5
1041
| 1042 | [8 empty] | 5.5
| 1043 | [8 empty] | 5.5
| 1044 | [8 empty] | 5.5
| 1045 | [8 empty] | 5.5
| 1046 | [8 empty] | 5.5
1047
| 1048 | [8 empty] | 5.5
| 1049 | [8 empty] | 5.5
| 1050 | [8 empty] | 5.5
1051
1052
1053
1054
1055
1056
1057
1058
1059
1060
1061
1062
1063
1064
1065
1066
1067
1068
1069
1070
1071
1072
1073
1074
1075
1076
1077
1078
1079
1080
1081
1082
1083
1084
1085
1086
1087
1088
1089
1090
1091
1092
1093
1094
1095
1096
1097
1098
1099